## final_waterquality_complete
sampleId | sourceName | date | pH | EC_uS | TDS_ppm | Salt_ppm | DO_mg_L | turbidity_NTU | drinkingStatus | CFU_avg | description
S1 | Effluent Household
S2 | Borewell Closed Tank
S3 | Borewell Open Tank
S4 | Effluent Common Drain
S5 | Right Lake
S6 | Bund Water
S7 | Left Lake
S8 | Central Lake
S9 | Poultry Farm Borewell
S10 | Piggery Water

## lake_full_integration
location | pH | EC_uS | TDS_mg_L | TSS_mg_L | turbidity_NTU | DO_mg_L | COD_mg_L | BOD_mg_L | orthophosphate | nitrite | nitrate | ammonia | TKN | totalColiform | naPlateCount | embIndicator | microbialStatus | CFU_avg
Lake Sample 1
Lake Sample 2
Lake EF 1
Lake BH Entry 1
Lake BH Entry 2
Lake BH Entry 3

## gram_stainingdata
Elevation | Microscopic shape | Cell arrangement | Gram positive/negative | Special feature

## gram_stainingtotal
total_isolates | gram_negative_percent | bacillus_percent | cocci_percent | mucoid_layer_percent

## Doxy_Caliberation
Doxycycline — HPLC Calibration Standards ()
Method: MRM (445.2 → 428.1) ¦ Instrument: Agilent MassHunter ¦ Equation: y = 434.298×x + 1728.931 ¦ R² = 0.9993
Level | Sample File | Acquisition Date | Expected Conc (ng/mL) | RT (min) | Final Conc (ng/mL) | Accuracy (%) | Peak Area
1
2
3
4
5
6
7
⚠ Red rows = outside calibration range / failed QC. 1 ng and 5 ng standards excluded from final curve fit.

## Amox_Caliberation
Amoxicillin — HPLC Calibration Standards ()
Method: MRM (366.1 → 114.0) ¦ Instrument: Agilent MassHunter ¦ Equation: y = 183.260×x + 1042.108 ¦ R² = 0.9993
Level | Sample File | Acquisition Date | Expected Conc (ng/mL) | RT (min) | Final Conc (ng/mL) | Accuracy (%) | Peak Area
1
2
3
4
5
6
7
⚠ Red rows = outside acceptable accuracy range (80–120%). 1 ng and 5 ng standards excluded from final curve. Remaining 5-point curve passes QC.

## Amox_samples
Amoxicillin — Sample Analysis Results ()
Detection method: LC-MS/MS MRM (366.1 → 114.0) ¦ LOD: ~1 ng/mL ¦ Permissible limit: 0.02 mg/g (FSSAI)
Sample ID | File | Sample Type | Matrix | Date | RT (min) | Conc (ng/mL) | Conc (mg/g)* | Status

## Doxy_Samples
Doxycycline — Sample Analysis Results ()
Detection method: LC-MS/MS MRM (445.2 → 428.1 T) ¦ Permissible limit (poultry/pig excreta): 0.02 mg/g ¦ Source: FSSAI/CODEX
Sample ID | File | Sample Type | Matrix | Date | RT (min) | Conc (ng/mL) | Conc (mg/g)* | Status
* S-02 Hen Excreta ACN value (174 ng/mL raw) exceeds calibration upper bound — concentration back-calculated; mg/g = ng/mL ÷ 50,000 (sample prep dilution factor). All values below FSSAI permissible limit of 0.02 mg/g.

## AMR_Summary_dashboard
AMR Summary — Village Study (For Dashboard Use)
Data Source: HPLC-MS/MS analysis ¦ Lab: Equine Biotech, IISc ¦ Analysis Date: Mar–Apr 2024 ¦ Method: Agilent MassHunter LC-MS
Antibiotic | Sample Type | Matrix / Location | Detected Conc (ng/mL) | Detected Conc (mg/g) | Permissible Limit (mg/g) | % of Limit Used | Risk Status
✅ CONCLUSION: No immediate AMR risk detected. Doxycycline found in pig excreta (trace) and hen excreta (17.4% of limit) — both well within FSSAI permissible limits. Amoxicillin not detected in any sample. Ongoing monitoring recommended.

## air_quality
parameter | value | unit | interpretation
AQI
Humidity

## soil_data
site_id | site_name | na_growth_10_2 | colony_count_10_6 | e_coli_present

## soil_cfu
Sample | CFU(Replicate1) | CFU( Replicate 2) | CFU(replicate3) | CFU avg
Soil Sample from Horse Stable
Soil Sample from Agriculture
Soil Sample from Banana field