## water_quality
sample_id | source_name | pH | EC_mS | TDS_ppm | DO_mg_L | turbidity_NTU | drinking_status
S1 | Effluent Household | 7.52 | 1990 | 1420 | 1.8 | 10.46 | Unfit
S2 | Borewell Closed Tank | 7.42 | 1549 | 1120 | 6.55 | 7.12 | Treat First
S3 | Borewell Open Tank | 7.33 | 1619 | 1150 | 6.17 | 0.43 | Treat First
S4 | Effluent Common Drain | 7.35 | 1193 | 912 | 7.89 | 3.56 | Unfit
S5 | Right Lake | 7.73 | 443 | 312 | 9.48 | 2.99 | Borderline
S6 | Bund Water | 7.55 | 624 | 305 | 8.62 | 1.3 | Agriculture
S7 | Left Lake | 8.41 | 720 | 288 | 9.26 | 2.08 | Borderline
S8 | Central Lake | 7.72 | 846 | 297 | 9.13 | 1.42 | Borderline
S9 | Poultry Farm Borewell | 6.61 | 538 | 378 | 7.03 | 0.32 | Treat First
S10 | Piggery Water | 6.25 | 112 | 204 | 8.91 | 0 | Agriculture

## villagewatercfu
Sample | CFU (replicate 1) | CFU (replicate 2) | CFU (replicate 3)
Household Effluent | 0.4 | 0.4 | 0.4
Common effluent | 0.66 | 0.78 | 0.45
Right lake surface | 0.101 | 0.1 | 0.09
Bund water | 0.128 | 0.116 | 0.13
W/POU/W2 (poultry) | 0.099 | 0.1 | 0.112

## gram_staining_data
Plate code | Dilution | Media | Colony colour | colony shape | Colony margin | Colony size | Elevation | Microscopic shape | Cell arrangement | Gram positive/negative | Special feature
1A | Undiluted | NA | yellowish | circular | defined | 2mm |  | Bacillus | clustered | Gram negative | mucuoid layer is seen
1A | Undiluted | NA | yellow | circular | defined | less than 1mm |  | Bacillus | single | Gram negative
1A | Undiluted | NA | White | circular | defined | 2mm |  | Bacillus | single | Gram negative | mucoid layer is seen
1A | Undiluted | NA | White | circular | defined | 1mm |  | Bacillus | paired | Gram negative
1A | Undiluted | NA | White | circular | Scalloped | 2mm |  | Bacillus | clustered | Gram negative
1A | Undiluted | NA | White | Oval | defined | 2mm |  | Cocci | single | Gram negative
1B | Undiluted | NA | Whitish | circular | defined | 1mm |  | Bacillus | single | Gram negative | mucoid layer is seen
1B | 1:10 | NA | yellowish | Punctiform | Defined | <1mm |  | Bacillus | chain | Gram negative
1B | 1:10 | NA | Yellow | Irregular | undefined | 1mm |  | Cocci | clustered | Gram negative
1B | 1:10 | NA | White | circular | defined | 2mm |  | Cocci | single | Gram negative | mucoid layer is seen
1B | 1:10 | NA | White | Irregular | Scalloped | 3mm |  | Bacillus | chain | Gram negative
4B | 1:10 | NA | Yellow | Irregular | Scalloped | 2mm |  | Cocci | clustered | Gram negative
4B | 1:10 | NA | White | circular | defined | 1mm |  | Cocci | clustered | Gram negative | mucoid layer is seen
Control(Seen today) |  | NA | Pink | circular | defined | 1mm |  | Cocci | single | Gram negative
1A | Undiluted | XLD | White | circular | defined | 2mm |  | Cocci | single | Gram negative
1A | Undiluted | XLD | White | circular | defined | 1mm |  | Bacillus | paired | Gram negative
1A | Undiluted | XLD | white | Irregular | undefined | 1mm |  | Bacillus | clustered | Gram negative
1A | Undiluted | XLD | White | circular | Scalloped | 2mm |  | Bacillus | chain | Gram negative
1B | 1:10 | XLD | white | circular | defined | 3mm | Raised | Cocci | clustered | Gram negative
2A | Undiluted | XLD | white | circular | defined | <1mm |  | Bacillus | single | Gram negative
2B | 1:10 | XLD | white | circular | defined | 2mm | Raised | Cocci | single | Gram negative
2B | 1:10 | XLD | white | circular | Scalloped | 1mm |  | Bacillus | paired | Gram negative
3A | Undiluted | XLD | yellowish | Irregular | Scalloped | 4mm elongated |  | Cocci | single | Gram negative
3A | Undiluted | XLD | white | circular | defined | 2mm |  | Bacillus | paired | Gram negative
3B | 1:10 | XLD | white | circular | defined | 3mm |  | Cocci | single | Gram negative
4B | 1:10 | XLD | transparent | circular | defined | 1mm |  | Bacillus | clustered | Gram negative
4B | 1:10 | XLD | white | circular | undefined | <1mm |  | Bacillus | single | Gram negative
6B | 1:10 | XLD | white | circular | defined | 1mm |  | Bacillus | chain | Gram positive
6B | 1:10 | XLD | white with black dot(fish eye) | circular | defined | 1mm |  | Bacillus | single | Gram negative
5A | Undiluted | XLD | Black | circular | defined | <1mm |  | Bacillus | single | Gram positive
6A | Undiluted | EMB | white | circular | defined | <1mm |  | Bacillus | single | Gram negative
6A | Undiluted | EMB | white | circular | defined | <1mm | Raised | Bacillus | single | Gram positive
2B | 1:10 | EMB | pink | Irregular | undefined | 1mm |  | Bacillus | paired | Gram positive
6B | 1:10 | EMB | white | Irregular | Scalloped | 3mm |  | Bacillus | single | Gram negative
6B | 1:10 | EMB | pink | Irregular | Scalloped | 2mm | Raised | Bacillus | clustered | Gram negative
6B | 1:10 | EMB | white with black dot(fish eye) | Irregular | Scalloped | 1mm |  | Bacillus | single | Gram positive
6B | 1:10 | EMB | white with black dot(fish eye) | circular | defined | 1mm |  | Bacillus | single | Gram negative
6B | 1:10 | EMB | Pink | Irregular | Scalloped | 2mm |  | Bacillus | chain | Gram negative
3B | 1:10 | EMB | white with black dot(fish eye) | circular | Scalloped | 1mm |  | Bacillus | clustered | Gram negative
3B | 1:10 | EMB | pink | circular | Scalloped | 1mm | Raised | Cocci | clustered | Gram negative
3B | 1:10 | EMB | Blue | Irregular | Scalloped | 1mm |  | Bacillus | clustered | Gram negative
4A | Undiluted | EMB | white | circular | defined | 1mm |  | Bacillus | single | Gram positive
4A | Undiluted | EMB | white | Irregular | Scalloped | 1mm |  | Bacillus | clustered | Gram negative
4A | Undiluted | EMB | transparent | Irregular | Scalloped | 2mm |  | Bacillus | clustered | Gram positive
4A | Undiluted | EMB | white | Irregular | Scalloped | 3mm |  | Bacillus | chain | Gram positive
4A | Undiluted | EMB | White | circular | Scalloped | 1mm |  | Cocci | single | Gram negative

## lake_water_cfu
Sample | CFU(Replicate1) | CFU( Replicate 2) | CFU(replicate3)
Lake/BH/ENTRY1 | 2.57 | 2.55 | 3
Lake/BH/ENTRY2 | 0.336 | 0.378 | 0.345
Lake/BH/ENTRY3 | 3.89 | 3.56 | 3.36
Lake/BH/2 | 3.8 | 3.45 | 3.76
Lake/EF/1 | 0.378 | 0.38 | 0.378
Lake/BH/3 | 0.2 | 0.198 | 0.215

## gram_staining_total
total_isolates | gram_negative_percent | bacillus_percent | cocci_percent | mucoid_layer_percent
26 | 100 | 65 | 35 | 30

## microbial_analysis
sample_id | location | na_plate_count | emb_indicator | microbial_status
S1 | Lake BH Entry 1 | 257 | Enterobacter aerogenes | Moderate
S2 | Lake BH Entry 2 | TNTC | Enterobacter aerogenes | High
S3 | Lake BH Entry 3 | TNTC | Enterobacter aerogenes | High
S4 | Lake BH 2 | 380 | Enterobacter aerogenes | Moderate
S5 | Lake EF 1 | TNTC | High coliform load | High
S6 | Lake BH 3 | TNTC/200 | Mixed enteric flora | High

## physiochem_lakesample
Parameter | Unit | Lake Sample 1 | Lake Sample 2 | household effluent | Inlet 2 | Inlet 3 | Inlet 4
pH | – | 7.73 ± 0.06 | 7.67 ± 0.06 | 7.37 ± 0.06 | 7.87 ± 0.06 | 8.00 ± 0.00 | 7.73 ± 0.06
EC | µS/cm | 1236.7 ± 10.0 | 1084.7 ± 9.9 | 2198.3 ± 17.6 | 2134.3 ± 1.5 | 1845 ± 8.7 | 1820 ± 1.0
TDS | mg/L | 613.8 ± 0.87 | 535.6 ± 2.43 | 1073.7 ± 3.21 | 1051 ± 4.58 | 905.1 ± 3.67 | 893.3 ± 1.62
TSS | mg/L | 51.3 ± 1.15 | 42.3 ± 5.69 | 432.7 ± 18.9 | 51.7 ± 2.08 | 36.3 ± 3.06 | 61.3 ± 3.51
Turbidity | NTU | 36.2 ± 0.17 | 18.0 ± 0.60 | 204.7 ± 7.77 | 22.3 ± 0.35 | 32.7 ± 2.34 | 33.6 ± 7.13
DO | mg/L | 6.62 | 7.16 | 0.08 | 2.98 | 8.29 | 4.21
COD | mg/L | 34 ± 14.1 | 34 ± 2.83 | 200 ± 56.6 | 180 ± 84.9 | 140 ± 28.3 | 240 ± 0
BOD | mg/L | 3.63 | 2.61 | 40.14 | 20.28 | 13.14 | 38.7
Orthophosphate | mg/L | 0.016 ± 0.009 | 0.012 ± 0.004 | 1.72 ± 0.28 | 2.77 ± 0.03 | 2.08 ± 0.03 | 1.47 ± 0.05
N-Nitrite | mg/L | 0.012 | 0.008 | 0.13 | 0.041 | 0.026 | 0.072
N-Nitrate | mg/L | 3.4 | 3.88 | 50.68 | 17.86 | 8.54 | 14.95
N-Ammonia | mg/L | 0.166 ± 0.020 | 0.170 ± 0.053 | 14.97 ± 0.18 | 16.51 ± 0.89 | 8.22 ± 0.40 | 13.18 ± 0.47
TKN | mg/L | 7 | 3.5 | 59.5 | 3.5 | 28 | 3.5
Total Coliforms | CFU/100 mL | 9300 | 8100 | >300 (4th dil.) | >300 (3rd dil.) | 200000 | >300 (2nd dil.)

## physiochem_village_waterquality
Label | Sample no. | pH | EC (µS) | TDS (ppm) | Salt (ppm) | DO (mg/L) | Turbidity (NTU) | Label Description
EFFLUENT HOUSEHOLD 28/11/25 | 1 | 7.52 | 1990 | 1420 | 1030 | 1.8 | 10.46 | Common water discharge from village households, visibally unsanitary near the village
BH 28/11/25 W/HH S2 | 2 | 7.42 | 1549 | 1120 | 799 | 6.55 | 7.12 | Closed tank water storage from borewell. used by villagers for daily hosehold needs
BH 28/11/25 W/HH S1 | 3 | 7.33 | 1619 | 1150 | 814 | 6.17 | 0.43 | Open tank water storage from borewell. used by villagers for daily hosehold needs
EFFLUENT (Common) 28/11/25 | 4 | 7.35 | 1193 | 912 | 674 | 7.89 | 3.56 | Common effluent seen leaving from the village enroute to the lake, away from the village
Right Lake (28/11/25) | 5 | 7.73 | 443 | 312 | 230 | 9.48 | 2.99 | sample collected from the lake. This side was used by villagers for cleaning and drinking purpose
BUND WATER 25/11/25 | 6 | 7.55 | 624 | 305 | 210 | 8.62 | 1.3 | water from the bund pumped into a well, used for agricultural usage
2 LEFT LAKE 28/11/25 | 7 | 8.41 | 720 | 288 | 206 | 9.26 | 2.08 | Water collected from lake
C LAKE 28/11/25 | 8 | 7.72 | 846 | 297 | 209 | 9.13 | 1.42 | water collected from lake
W/POUL2/W2 | 9 | 6.61 | 538 | 378 | 268 | 7.03 | 0.32 | water collected from poultry farm 2. this is the borewell water which they use it for the poultry needs
W/PIG/W1 | 10 | 6.25 | 112 | 204 | 196 | 8.91 | BDL | water collected from the piggery, the water was coming from motor, we could see fishes in that and they use it for the piggery.

## air_quality
parameter | value | unit | interpretation
AQI | 135 | Index | Unhealthy for sensitive groups
Humidity | 37 | % | Low respiratory risk

## soil_data
site_id | site_name | na_growth_10_2 | colony_count_10_6 | e_coli_present
SS1 | Horse Stable | 100 | 102 | Yes
SS2 | Agriculture Land | 98 | 10 | Yes
SS3 | Banana Field | 99 | 2 | Yes

## soil_cfu
Sample | CFU(Replicate1) | CFU( Replicate 2) | CFU(replicate3)
Soil Sample from Horse Stable | 0.0348 | 0.0378 | 0.035
Soil Sample from Agriculture | 0.0356 | 0.0336 | 0.0378
Soil Sample from Banana field | 0.0335 | 0.0398 | 0.0341